BARLING MAGNA PARISH COUNCIL

SPECIFICATION FOR REFURBISHMENT OF KITCHEN AREA AT VILLAGE HALL, 432 LITTLE WAKERING ROAD, BARLING MAGNA

To supply and fit kitchen units with work tops

7 x 1000 mm base units (with shelving)

3 x 500 mm drawer base units

Plinths including end plinths to suit

3 granite effect or cream work tops (colour to be decided)

To supply and fit 2 x stainless steel sinks including new taps and waste

Worktop finish must provide that the joints are in line (no chrome strip)

To include removal of all existing work tops, units and sinks, and waste material and disposing of same in an authorised manner.

Make good any damage

BARLING MAGNA PARISH COUNCIL

SPECIFICATION FOR REFURBISHMENT OF TOILET AREA AT VILLAGE HALL, 432 LITTLE WAKERING ROAD, BARLING MAGNA

Disabled W.C.

Remove all sanitary ware

Supply and install Doc M pack including disabled w.c., basin, tap and grab rails

Female W.C.

Remove 3 plastic cisterns

Supply and install 3 china cisterns

Remove 3 toilet seats

Supply and fit 3 good quality toilet seats

Remove basin and shelf

Supply and install 1000 long white vanity unit, worktop, basin and taps

Male W.C.

Remove cistern

Supply and install china cistern

Remove toilet seat

Supply and fit good quality toilet seat

Remove existing basin

Supply and fit new basin, new taps, and waste (taps to be non -concussive – self closing)

Urinals - Option 1:

Remove existing urinals and cistern

Supply and fit two new urinals, cistern and sparge pipes

All necessary alterations to cold service and waste pipework

Urinals - Option 2:

Drain and remove urinal cistern

Supply and install new urinal cistern and cisternmiser water saving device

All necessary alternations to cold service and waste pipework

Test all newly installed products

Authorised waste removal from site

Make good any damage